## Sheet1
CATEGORY | VARIABLE | UNIT | SHORT_DESCRIPTION | COLOR
demand | Qhsf_kWh | kWh | Final space heating demand | red
demand | Qcsf_kWh | kWh | Final space cooling demand | blue
demand | QCf_kWh | kWh | Final cooling demand | blue
demand | Qwwf_kWh | kWh | Final hot water demand | orange
demand | Ef_kWh | kWh | Final electricity demand | green
demand | Twwf_sup_C | C | Supply temperature hot water system | orange
demand | Twwf_re_C | C | Return temperature hot water system | orange_light
demand | Thsf_sup_C | C |  | red
demand | Thsf_re_C | C |  | yellow
demand | Tcsf_sup_C | C |  | blue
demand | Tcsf_re_C | C |  | blue_light
demand | I_sol_kWh | kWh |  | yellow
demand | I_rad_kWh | kWh |  | yellow_light
demand | Qhsf_sen_kWh | kWh |  | red
demand | Qhs_loss_sen_kWh | kWh |  | red_light
demand | Qcsf_sen_kWh | kWh |  | blue
demand | Qcs_loss_sen_kWh | kWh |  | blue_light
demand | Q_gain_sen_peop_kWh | kWh |  | orange
demand | Q_gain_sen_app_kWh | kWh |  | orange_light
demand | Q_gain_sen_light_kWh | kWh |  | orange_lighter
demand | Q_gain_sen_wall_kWh | kWh |  | brown
demand | Q_gain_sen_base_kWh | kWh |  | brown_light
demand | Q_gain_sen_roof_kWh | kWh |  | brown_lighter
demand | Q_gain_sen_wind_kWh | kWh |  | grey_light
demand | Q_loss_sen_wall_kWh | kWh |  | brown
demand | Q_loss_sen_base_kWh | kWh |  | brown_light
demand | Q_loss_sen_roof_kWh | kWh |  | brown_lighter
demand | Q_loss_sen_wind_kWh | kWh |  | grey_light
demand | Q_gain_sen_vent_kWh | kWh |  | green
demand | Q_loss_sen_vent_kWh | kWh |  | green
demand | Qcsf_lat_kWh | kWh |  | purple
demand | Q_gain_lat_peop_kWh | kWh |  | purple_light
demand | Q_gain_lat_vent_kWh | kWh |  | purple_lighter
demand | Q_gain_sen_data_kWh | kWh |  | black
demand | Q_loss_sen_ref_kWh | kWh |  | grey
solar radiation | windows_east |  |  | blue
solar radiation | windows_west |  |  | grey
solar radiation | windows_south |  |  | green
solar radiation | windows_north |  |  | orange_light
solar radiation | walls_east |  |  | purple
solar radiation | walls_west |  |  | brown
solar radiation | walls_north |  |  | orange
solar radiation | walls_south |  |  | red
solar radiation | roofs_top |  |  | yellow
Solar technologies | PV_walls_east_E |  |  | purple
Solar technologies | PV_walls_west_E |  |  | brown
Solar technologies | PV_walls_north_E |  |  | orange
Solar technologies | PV_walls_south_E |  |  | red
Solar technologies | PV_roofs_top_E |  |  | yellow
Solar technologies | PVT_walls_east_E |  |  | purple
Solar technologies | PVT_walls_west_E |  |  | brown
Solar technologies | PVT_walls_north_E |  |  | orange
Solar technologies | PVT_walls_south_E |  |  | red
Solar technologies | PVT_roofs_top_E |  |  | yellow
Solar technologies | PVT_walls_east_Q |  |  | purple_light
Solar technologies | PVT_walls_west_Q |  |  | brown_light
Solar technologies | PVT_walls_north_Q |  |  | orange_light
Solar technologies | PVT_walls_south_Q |  |  | red_light
Solar technologies | PVT_roofs_top_Q |  |  | yellow_light
Solar technologies | SC_walls_east_Q |  |  | purple_light
Solar technologies | SC_walls_west_Q |  |  | brown_light
Solar technologies | SC_walls_north_Q |  |  | orange_light
Solar technologies | SC_walls_south_Q |  |  | red_light
Solar technologies | SC_roofs_top_Q |  |  | yellow_light
Activation curve | Q_SCandPVT_gen_Wh | W |  | yellow
Activation curve | Q_from_storage_used_W | W |  | red_light
Activation curve | Q_AddBoiler_W | W |  | grey
Activation curve | Q_BoilerBase_W | W |  | red
Activation curve | Q_BoilerPeak_W | W |  | black
Activation curve | Q_CC_W | W |  | brown
Activation curve | Q_Furnace_W | W |  | green
Activation curve | Q_GHP_W | W |  | purple
Activation curve | Q_HPLake_W | W |  | blue
Activation curve | Q_HPSew_W | W |  | blue_light
Activation curve | Q_DHNf_W | W |  | grey_light
Emissions and Primary Energy | E_ghg |  |  | black
Emissions and Primary Energy | M_ghg |  |  | grey_light
Emissions and Primary Energy | O_ghg |  |  | grey
Emissions and Primary Energy | E_nre_pen |  |  | red
Emissions and Primary Energy | M_nre_pen |  |  | orange
Emissions and Primary Energy | O_nre_pen |  |  | orange_light
Thermal Network | Epump |  |  | grey_light
Thermal Network | Qnetwork |  |  | black
Thermal Network | P-sup |  |  | blue
Thermal Network | P-ret |  |  | blue_light
Thermal Network | T-sup |  |  | red
Thermal Network | T-ret |  |  | yellow
Thermal Network | P-loss |  |  | grey
Thermal Network | Q-loss |  |  | orange